## SIN Directory
Viking SIN Directory Blue row indicates current sprinkler SIN numbers White row indicates obsolete sprinkler SIN numbers
Form Number | Sprinkler Type | Sprinkler ID #'s (SIN) | Response Type | Orientation | K-Factor | Sprinkler Description
F_052814 | Standard Response | VK001 | Standard Response | Upright | 2.8 | Micromatic Standard Response Upright Sprinkler (K2.8)
F_081314 | Standard Response | VK002 | Standard Response | Upright | 4.2 | Micromatic Standard Response Upright Sprinkler (K4.2)
F_052914 | Standard Response | VK003 | Standard Response | Pendent | 2.8 | Micromatic Standard Response Pendent Sprinkler (K2.8)
F_081614 | Standard Response | VK004 | Standard Response | Pendent | 4.2 | Micromatic Standard Response Pendent Sprinkler (4.2)
F_060304 | Standard Response | VK005 | Standard Response | Upright | 2.8 | Standard Response Fusible Link Sprinklers (Upright and Pendent)
F_030492 | Standard Response | VK006 | Standard Response | Upright | 5.6 | Standard Response Fusible Link Sprinklers (Upright and Pendent) Model M
F_030492 | Standard Response | VK007 | Standard Response | Pendent | 2.8 | Standard Response Fusible Link Sprinklers (Upright and Pendent) Model M
F_030492 | Standard Response | VK008 | Standard Response | Pendent | 5.6 | Standard Response Fusible Link Sprinklers (Upright and Pendent) Model M
F_082114 | Standard Response | VK015 | Standard Response | Horizontal Sidewall | 2.8 | Micromatic Standard Response Horizontal Sidewall Sprinkler (K2.8)
F_123096 | Standard Response | VK016 | Standard Response | Horizontal Sidewall | 4.2 | Micromatic and MicromaticHP Standard Response HSW Sprinklers
F_072198 | Standard Response | VK018 | Standard Response | Vertical Sidewall | 4.2 | Micromatic Standard Response Vertical Sidewall Sprinklers
F_080106 | Standard Response | VK021 | Standard Response | Upright | 2.8 | Micromatic and MicromaticHP Standard Response Upright
F_052014 | Standard Response | VK100 | Standard Response | Upright | 5.6 | Micromatic Standard Response Upright Sprinkler (K5.6)
F_020316 | Standard Response | VK1001 | Standard Response | Upright | 5.6 | Standard Response Upright Sprinkler K5.6
F_102820 | Standard Response | VK1201 | Standard Response | Conventional | 8 | Standard Response Conventional Sprinkler K8.0
F_102920 | Standard Response | VK1202 | Standard Response | Conventional | 8 | Standard Response Conventional Sprinkler K8.0
F_102720 | Standard Response | VK1181 | Standard Response | Conventional | 5.6 | Standard Response Conventional Sprinkler K5.6
F_031414 | Standard Response | VK102 | Standard Response | Pendent | 5.6 | Micromatic Standard Response Pendent Sprinkler (K5.6)
F_020416 | Standard Response | VK1021 | Standard Response | Pendent | 5.6 | Standard Response Pendent Sprinnkler K5.6
F_033514 | Standard Response | VK104 | Standard Response | Horizontal Sidewall | 5.6 | Micromatic Standard Response Horizontal Sidewall Sprinkler (K5.6)
F_052414 | Standard Response | VK106 | Standard Response | Vertical Sidewall | 5.6 | Micromatic Standard Response Vertical Sidwall Sprinkler (K5.6)
F_052214 | Standard Response | VK108 | Standard Response | Upright | 5.6 | Standard Response Fusible Link Upright Sprinkler (K5.6)
F_053014 | Standard Response | VK109 | Standard Response | Upright | 5.6 | Standard Response Fusible Link Upright Sprinkler (K5.6)
F_052314 | Standard Response | VK110 | Standard Response | Pendent | 5.6 | Standard Response Fusible Link Pendent Sprinkler (K5.6)
F_060404 | Standard Response | VK112 | Standard Response | Horizontal Sidewall | 5.6 | Standard Response Fusible Link Sidewall Sprinklers
F_032092 | Standard Response | VK114 | Standard Response | Vertical Sidewall | 5.6 | Standard Response Fusible Link Sprinklers (VSW)
F_082014 | Standard Response | VK116 | Standard Response | Horizontal Sidewall | 5.6 | MicromaticHP Standard Response HSW HP Sprinkler
F_022414 | Standard Response | VK118 | Standard Response | Conventional | 5.6 | Micromatic Standard Response Conventional Sprinkler (K5.6)
F_032914 | Standard Response | VK120 | Standard Response | Conventional | 8 | Micromatic Standard Response Conventional Sprinkler (K8.0)
F_081714 | Standard Response | VK122 | Standard Response | Pendent | 5.6 | Micromatic HP Standard Response Pendent Sprinkler
F_080106 | Standard Response | VK124 | Standard Response | Upright | 5.6 | Micromatic and MicromaticHP Standard Response Upright
F_060691 | Standard Response | VK130 | Standard Response | Upright | 5.6 | Micromatic Stainless Steel Sprinkler
F_060691 | Standard Response | VK132 | Standard Response | Pendent | 5.6 | Micromatic Stainless Steel Sprinkler
F_021396 | Special Sprinklers | VK134 | Standard Response | Pendent | 5.6 | Model M Special Response Sprinklers (Upright, Pendent, Conventional)
F_021396 | Special Sprinklers | VK136 | Standard Response | Conventional | 5.6 | Model M Special Response Sprinklers (Upright, Pendent, Conventional)
F_021396 | Special Sprinklers | VK138 | Standard Response | Upright | 5.6 | Model M Special Response Sprinklers (Upright, Pendent, Conventional)
F_032714 | Standard Response | VK145 | Standard Response | Upright | 5.6 | Micromatic Standard Response Upright Sprinkler (K5.6)
F_071591 | Dry Sprinkler | VK150 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_071591 | Dry Sprinkler | VK151 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_101811 | Dry Sprinkler | VK1510 | Standard Response | Pendent | 5.6 | Standard Response Dry Pendent
F_073091 | Dry Sprinkler | VK152 | Standard Response | Horizontal Sidewall | 5.6 | Standard Response Dry Horizontal Sidewall Sprinkler
F_011194 | Dry Sprinkler | VK153 |  | Vertical Sidewall | 5.6 | Dry Vertical Sidewall Sprinklers
F_071591 | Dry Sprinkler | VK154 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_071591 | Dry Sprinkler | VK155 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_101811 | Dry Sprinkler | VK1550 | Standard Response | Pendent | 5.6 | Standard Response Dry Pendent
F_073091 | Dry Sprinkler | VK156 | Standard Response | Horizontal Sidewall | 5.6 | Standard Response Dry Horizontal Sidewall Sprinkler
F_011194 | Dry Sprinkler | VK157 | Standard Response | Vertical Sidewall | 5.6 | Dry Vertical Sidewall Sprinklers
F_071591 | Dry Sprinkler | VK158 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_071591 | Dry Sprinkler | VK159 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_101811 | Dry Sprinkler | VK1590 | Standard Response | Pendent | 5.6 | Standard Response Dry Pendent
F_033192 | Dry Sprinkler | VK160 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_011194 | Dry Sprinkler | VK161 | Standard Response | Vertical Sidewall | 5.6 | Dry Vertical Sidewall Sprinklers
F_073091 | Dry Sprinkler | VK162 | Standard Response | Horizontal Sidewall | 5.6 | Standard Response Dry Horizontal Sidewall Sprinkler
F_090110 | Dry Sprinkler | VK163 | Standard Response | Pendent | 8 | Standard Response Large Orifice Dry Pendent Sprinklers 8.0K
F_071591 | Dry Sprinkler | VK164 | Standard Response | Pendent | 5.6 | Standard Response Model M Dry Pendent Sprinklers
F_090110 | Dry Sprinkler | VK164 | Standard Response | Pendent | 8 | Standard Response Large Orifice Dry Pendent Sprinklers 8.0K
F_090110 | Dry Sprinkler | VK166 | Standard Response | Pendent | 8 | Standard Response Large Orifice Dry Pendent Sprinklers 8.0K
F_060796 | Dry Sprinkler | VK168 | Standard Response | Pendent | 5.6 | Stainless Steel Dry Pendent Sprinkler
F_060796 | Dry Sprinkler | VK169 | Standard Response | Pendent | 5.6 | Stainless Steel Dry Pendent Sprinkler
F_031793 | Dry Sprinkler | VK172 | Quick Response | Pendent | 5.6 | Model M Quick Response Dry Pendent Sprinklers
F_010305 | Dry Sprinkler | VK173 | Quick Response | Pendent | 8 | Quick Response Large Orifice Dry Pendent Sprinklers
F_031993 | Dry Sprinkler | VK174 | Quick Response | Horizontal Sidewall | 5.6 | Model M Quick Response Dry Horizontal Sidewall Sprinkler
F_031793 | Dry Sprinkler | VK176 | Quick Response | Pendent | 5.6 | Model M Quick Response Dry Pendent Sprinklers
F_010305 | Dry Sprinkler | VK177 | Quick Response | Pendent | 8 | Quick Response Large Orifice Dry Pendent Sprinklers
F_031993 | Dry Sprinkler | VK178 | Quick Response | Horizontal Sidewall | 5.6 | Model M Quick Response Dry Horizontal Sidewall Sprinkler
F_031793 | Dry Sprinkler | VK180 | Quick Response | Pendent | 5.6 | Model M Quick Response Dry Pendent Sprinklers
F_010305 | Dry Sprinkler | VK181 | Quick Response | Pendent | 8 | Quick Response Large Orifice Dry Pendent Sprinklers
F_031993 | Dry Sprinkler | VK182 | Quick Response | Horizontal Sidewall | 5.6 | Model M Quick Response Dry Horizontal Sidewall Sprinkler
F_031693 | Dry Sprinkler | VK184 | Quick Response | Upright | 5.6 | Model M Quick Response Dry Upright Sprinkler
F_051498 | Dry Sprinkler | VK186 | Standard Response | Pendent | 5.6 | Standard Response/Quick Response Extended Coverage Dry Pendent Sprinkler
F_051598 | Dry Sprinkler | VK188 | Quick Response | Horizontal Sidewall | 5.6 | Model M Quick Response Extended Coverage Dry Horizontal Sidewall Sprinkler
F_092003 | Dry Sprinkler | VK190 | Standard Response | Pendent | 5.6 | Standard Response Dry Concealed Pendent Standard Orifice Sprinklers
F_090310 | Dry Sprinkler | VK192 | Standard Response | Pendent | 8 | Standard Response Large Orifice Dry Concealed Pendent Sprinklers
F_092103 | Dry Sprinkler | VK194 | Quick Response | Pendent | 5.6 | Quick Response Dry Concealed Pendent Sprinkler
F_092203 | Dry Sprinkler | VK196 | Quick Response | Pendent | 5.6 | Standard/QR EC Dry Concealed Pendent Sprinkler
F_032814 | Standard Response | VK200 | Standard Response | Upright | 8 | Micromatic Standard Response Upright Sprinkler
F_103020 | Standard Response | VK2001 | Standard Response | Upright | 8 | Standard Response Upright Sprinkler K8.0
F_103120 | Standard Response | VK2002 | Standard Response | Upright | 8 | Standard Response Upright Sprinkler K8.0 (retrofit)
F_032614 | Standard Response | VK202 | Standard Response | Pendent | 8 | Micromatic Standard Response Pendent Sprinkler (K8.0)
F_110120 | Standard Response | VK2021 | Standard Response | Pendent | 8 | Standard Response Pendent Sprinnkler K8.0
F_110220 | Standard Response | VK2022 | Standard Response | Pendent | 8 | Standard Response Pendent Sprinnkler K8.0
F_060414 | Standard Response | VK204 | Standard Response | Upright | 8 | Standard Response Fusible Link Upright Sprinkler (K8.0)
F_060514 | Standard Response | VK206 | Standard Response | Pendent | 8 | Standard Response Fusible Link Pendent Sprinkler (K8.0)
F_021396 | Special Sprinklers | VK210 | Standard Response | Upright | 8 | Model M Special Response Sprinklers (Upright, Pendent, Conventional)
F_021396 | Special Sprinklers | VK212 | Standard Response | Pendent | 8 | Model M Special Response Sprinklers (Upright, Pendent, Conventional)
F_021396 | Special Sprinklers | VK214 | Standard Response | Conventional | 8 | Model M Special Response Sprinklers (Upright, Pendent, Conventional)
F_081511 | Dry Sprinkler | VK250 | Standard Response | Horizontal Sidewall | 8 | Standard Response Ordinary Hazard Dry HSW Sprinklers 8.0K
F_022817 | Dry Sprinkler | VK2503 | Standard Response | Horizontal Sidewall | 8 | Standard Response Ordinary Hazard Dry Horizontal Sidewall
F_081511 | Dry Sprinkler | VK252 | Standard Response | Horizontal Sidewall | 8 | Standard Response Ordinary Hazard Dry HSW Sprinklers 8.0K
F_022817 | Dry Sprinkler | VK2523 | Standard Response | Horizontal Sidewall | 8 | Standard Response Ordinary Hazard Dry Horizontal Sidewall
F_081511 | Dry Sprinkler | VK254 | Standard Response | Horizontal Sidewall | 8 | Standard Response Ordinary Hazard Dry HSW Sprinklers 8.0K
F_022817 | Dry Sprinkler | VK2543 | Standard Response | Horizontal Sidewall | 8 | Standard Response Ordinary Hazard Dry Horizontal Sidewall
F_081111 | Dry Sprinkler | VK275 | Quick Response | Horizontal Sidewall | 8 | Quick Response Ordinary Hazard Dry HSW Sprinklers K8.0
F_022617 | Dry Sprinkler | VK2753 | Quick Response | Horizontal Sidewall | 8 | Quick Response Dry Horizontal Sidewall Ordinary Hazard Glass Bulb
F_081111 | Dry Sprinkler | VK277 | Quick Response | Horizontal Sidewall | 8 | Quick Response Ordinary Hazard Dry HSW Sprinklers K8.0
F_022617 | Dry Sprinkler | VK2773 | Quick Response | Horizontal Sidewall | 8 | Quick Response Dry Horizontal Sidewall Ordinary Hazard Glass Bulb
F_081111 | Dry Sprinkler | VK279 | Quick Response | Horizontal Sidewall | 8 | Quick Response Ordinary Hazard Dry HSW Sprinklers K8.0
F_022617 | Dry Sprinkler | VK2793 | Quick Response | Horizontal Sidewall | 8 | Quick Response Dry Horizontal Sidewall Ordinary Hazard Glass Bulb
F_010505 | Dry Sprinkler | VK282 | Quick Response | Pendent | 8 | Quick Response Large Orifice Dry Pendent Fusible Link Sprinklers
F_081211 | Dry Sprinkler | VK284 | Quick Response | Horizontal Sidewall | 8 | Quick Response Ordinary Hazard Dry Horizontal Sidewall Fusible Link Sprinklers 8.0K
F_022717 | Dry Sprinkler | VK2843 | Quick Response | Horizontal Sidewall | 5.2 | Quick Response Dry Horizontal Sidewall Ordinary Hazard Fusible Link
F_010505 | Dry Sprinkler | VK286 | Quick Response | Pendent | 8 | Quick Response Large Orifice Dry Pendent Fusible Link Sprinklers
F_081211 | Dry Sprinkler | VK288 | Quick Response | Horizontal Sidewall | 8 | Quick Response Ordinary Hazard Dry Horizontal Sidewall Fusible Link Sprinklers 8.0K
F_022717 | Dry Sprinkler | VK2883 | Quick Response | Horizontal Sidewall | 5.2 | Quick Response Dry Horizontal Sidewall Ordinary Hazard Fusible Link
F_010505 | Dry Sprinkler | VK290 | Quick Response | Pendent | 8 | Quick Response Large Orifice Dry Pendent Fusible Link Sprinklers
F_081211 | Dry Sprinkler | VK292 | Quick Response | Horizontal Sidewall | 8 | Quick Response Ordinary Hazard Dry Horizontal Sidewall Fusible Link Sprinklers 8.0K
F_022717 | Dry Sprinkler | VK2923 | Quick Response | Horizontal Sidewall | 5.2 | Quick Response Dry Horizontal Sidewall Ordinary Hazard Fusible Link
F_052114 | Quick Response | VK300 | Quick Response | Upright | 5.3 | Microfast Quick Response Upright Sprinkler
F_110420 | Quick Response | VK3001 | Quick Response | Upright | 5.6 | Quick Response Upright Sprinkler VK3001 K5.6
F_062414 | Quick Response | VK301 | Quick Response | Upright | 5.6 | Microfast Quick Response Fusible Element Upright Sprinkler (K5.6)
F_033314 | Quick Response | VK302 | Quick Response | Pendent | 5.6 | Microfast Quick Response Pendent Sprinkler(K5.6)
F_110720 | Quick Response | VK3021 | Quick Response | Pendent | 5.6 | Quick Response Pendent Sprinkler K5.6
F_062514 | Quick Response | VK303 | Quick Response | Pendent | 5.6 | Quick Response Fusible Element Sprinkler
F_080688 | Quick Response | VK304 | Quick Response | Horizontal Sidewall | 5.6 | Microfast Model M QR Sprinklers (HSW and VSW) - M/M-5 Sprinklers
F_060914 | Quick Response | VK305 | Quick Response | Horizontal Sidewall | 5.6 | Microfast Quick Response Horizontal Sidewall Sprinkler (K5.6)
F_060614 | Quick Response | VK306 | Quick Response | Vertical Sidewall | 5.3 | Microfast Quick Response Vertical Sidewall Sprinkler
F_062714 | Quick Response | VK307 | Quick Response | Horizontal Sidewall | 5.6 | Microfast Quick Response Fusible Element HSW Sprinkler (K5.6)
F_020307 | Quick Response | VK308 | Quick Response | Horizontal Sidewall | 5.6 | QR Fusible Element HSW Sprinkler
F_020407 | Quick Response | VK309 | Quick Response | Vertical Sidewall | 5.6 | Microfast QR Fusible Element VSW Sprinkler
F_022514 | Quick Response | VK310 | Quick Response | Conventional | 5.6 | Microfast Quick Response Conventional Sprinkler (K5.6)
F_111020 | Quick Response | VK3101 | Quick Response | Conventional | 5.6 | Microfast Model M QR Sprinkler Conventional
F_022614 | Quick Response | VK311 | Quick Response | Conventional | 5.6 | Microfast Quick Response Fusible Element Conventional Sprinkler (K5.6)
F_060714 | Quick Response | VK315 | Quick Response | Upright | 5.3 | Microfast Quick Response Upright High Pressure Sprinkler
F_062814 | Quick Response | VK316 | Quick Response | Upright | 5.6 | QR Fusible Element Sprinklers (Upright and Conventional)
F_060814 | Quick Response | VK317 | Quick Response | Pendent | 5.6 | MicrofastHP Quick Response High Pressure Sprinkler(K5.6)
F_062914 | Quick Response | VK318 | Quick Response | Pendent | 5.6 | Microfast QR Fusible Element High Pressure Pendent Sprinkler VK318 (K5.6)
F_030103 | Quick Response | VK319 | Quick Response | Horizontal Sidewall | 5.6 | Microfast and MicrofastHP QR Sprinklers (HSW)
F_020307 | Quick Response | VK320 | Quick Response | Horizontal Sidewall | 5.6 | QR Fusible Element HSW Sprinkler
F_061414 | Quick Response | VK325 | Quick Response | Upright | 2.8 | Microfast Quick Response Upright Sprinkler (K2.8)
F_063014 | Quick Response | VK326 | Quick Response | Upright | 2.8 | Microfast Quick Response Fusible Element Upright Sprinkler (K2.8)
F_061514 | Quick Response | VK327 | Quick Response | Upright | 5.3 | Microfast Quick Response Upright Sprinkler
F_061614 | Quick Response | VK3271 | Quick Response | Upright | 4.2 | Microfast QR Upright Spinkler
F_071114 | Quick Response | VK328 | Quick Response | Upright | 5.3 | Microfast Quick Response Fusible Element Upright Sprinkler
F_061714 | Quick Response | VK329 | Quick Response | Pendent | 2.8 | Microfast Quick Response Pendent Sprinkler (K2.8)
F_071014 | Quick Response | VK330 | Quick Response | Pendent | 2.8 | Microfast Quick Response Fusible Element Pendent Sprinkler (K2.8)
F_061814 | Quick Response | VK331 | Quick Response | Pendent | 4.2 | Microfast Quick Reponse Pendent Sprinkler (K4.2)
F_061914 | Quick Response | VK3311 | Quick Response | Pendent | 4.2 | Microfast Quick Response Pendent Sprinkler (K4.2)
F_071214 | Quick Response | VK332 | Quick Response | Pendent | 4.2 | QR Fusible Element Pendent Sprinklers
F_062014 | Quick Response | VK333 | Quick Response | Horizontal Sidewall | 2.8 | Microfast Quick Response Horizontal Sidewall (HSW) Sprinkler
F_071314 | Quick Response | VK334 | Quick Response | Horizontal Sidewall | 2.8 | QR Fusible Element HSW Sprinklers
F_011012 | Quick Response | VK335 | Quick Response | Horizontal Sidewall | 4.2 | QR Horizontal Sidewall Sprinkler
F_050300 | Quick Response | VK337 | Quick Response | Vertical Sidewall | 4.2 | Microfast QR Sprinkler (VSW)
F_073107 | Quick Response | VK338 | Quick Response | Upright | 5.6 | Microfast QR Stainless Steel Upright Sprinkler
F_073107 | Quick Response | VK339 | Quick Response | Pendent | 5.6 | Microfast QR Stainless Steel Pendent Sprinkler
F_062114 | Quick Response | VK340 | Quick Response | Upright | 5.3 | Microfast Quick Response High Pressure Upright Sprinkler
F_071414 | Quick Response | VK341 | Quick Response | Upright | 2.8 | QR Fusible Element Sprinklers (Upright and Conventional)
F_062214 | Quick Response | VK342 | Quick Response | Horizontal Sidewall | 2.8 | MicrofastHP Quick Response Horizontal Sidewall Sprinkler (K2.8)
F_071514 | Quick Response | VK343 | Quick Response | Pendent | 2.8 | QR Fusible Element Pendent Sprinklers
F_080688 | Quick Response | VK344 | Quick Response | Horizontal Sidewall | 2.8 | Microfast Model M QR Sprinklers (HSW and VSW) - M/M-5 Sprinklers
F_033114 | Quick Response | VK345 | Quick Response | Upright | 5.6 | Microfast Quick Response Upright Sprinkler (K5.6)
F_071614 | Quick Response | VK346 | Quick Response | Horizontal Sidewall | 2.8 | QR Fusible Element HSW Sprinklers
F_033014 | Quick Response | VK350 | Quick Response | Upright | 8 | Microfast Quick Response Upright Sprinkler (K8.0)
F_111120 | Quick Response | VK3501 | Quick Response | Upright | 8 | Quick Response Upright Sprinkler K8.0
F_111220 | Quick Response | VK3502 | Quick Response | Upright | 8 | Quick Response Upright Sprinkler K8.0 (retrofit)
F_071714 | Quick Response | VK351 | Quick Response | Upright | 8 | Microfast Quick Response Fusible Element Upright Sprinkler (K8.0)
F_033414 | Quick Response | VK352 | Quick Response | Pendent | 8 | Microfast Quick Response Pendent Sprinkler (K8.0)
F_111320 | Quick Response | VK3521 | Quick Response | Pendent | 8 | Quick Response Pendent Sprinkler K8.0 (retrofit)
F_111420 | Quick Response | VK3522 | Quick Response | Pendent | 8 | Quick Response Pendent Sprinkler K8.0
F_102112 | Quick Response | VK352-D | Quick Response | Pendent | 8 | Microfast Standard/Quick Response Concealed Pendent Sprinkler
F_071814 | Quick Response | VK353 | Quick Response | Pendent | 8 | Microfast Quick Response Fusible Element Pendent Sprinkler (K8.0)
F_033214 | Quick Response | VK354 | Quick Response | Conventional | 8 | Microfast Quick Response Conventional Sprinkler (K8.0)
F_111620 | Quick Response | VK3541 | Quick Response | Conventional | 8 | Quick Response Conventional Sprinkler K8.0
F_111720 | Quick Response | VK3542 | Quick Response | Conventional | 8 | Quick Response Conventional Sprinkler K8.0
F_071914 | Quick Response | VK355 | Quick Response | Conventional | 8 | Microfast Quick Response Fusible Element Conventional Sprinkler (K8.0)
F_092508 | Quick Response | VK360 | Quick Response | Horizontal Sidewall | 8 | QR Fusible HSW Sprinkler
F_071917 | Standard Response | VK368 | Standard Response | Pendent | 8 | Standard Response Stainless Steel Pendent Sprinkler
F_030993 | Quick Response | VK375 | Quick Response | Upright | 11.2 | QR ELO Upright Sprinkler
F_030993 | Quick Response | VK377 | Quick Response | Upright | 11.2 | QR ELO Upright Sprinkler
F_081788 | Standard Response | VK400 | Standard Response | Pendent | 5.5 | Horizon Model H Standard Response Flush Pendent Sprinklers
F_081788 | Standard Response | VK401 | Standard Response | Pendent | 5.5 | Horizon Model H Standard Response Flush Pendent Sprinklers
F_081888 | Quick Response | VK402 | Quick Response | Pendent | 5.6 | Horizon Model H QR Flush Pendent Sprinkler
F_012993 | Standard Response | VK404 | Quick Response | Pendent | 5.6 | Horizon Mirage Standard Response and QR Concealed Sprinkler, HP QR
F_012993 | Quick Response | VK404 | Standard Response | Pendent | 5.6 | Horizon Mirage Standard Response and QR Concealed Sprinkler, HP QR
F_012993 | Quick Response | VK405 | Standard Response | Pendent | 5.6 | Horizon Mirage Standard Response and QR Concealed Sprinkler, HP QR
F_011698 | Quick Response | VK406 | Quick Response | Pendent | 8 | Horizon Mirage QR Large Orifice Concealed Pendent Sprinkler
F_121096 | Standard Response | VK407 | Standard Response | Pendent | 5.5 | Model B-1 Horizon Mirage Concealed Sprinlker (LPCB) Horizon Mirage Concealed Sprinkler
F_010301 | Quick Response | VK408 | Quick Response | Horizontal Sidewall | 5.6 | QR Concealed HSW Sprinkler
F_100998 | Quick Response | VK410 | Quick Response | Pendent | 5.6 | Model HQR-2 Institutional QR Flush Pendent Sprinkler
F_101098 | Special Sprinklers | VK412 | Quick Response | Horizontal Sidewall | 5.6 | Model HQR-2 Institutional QR Flush HSW Sprinkler
F_081888 | Quick Response | VK413 | Quick Response | Pendent | 5.6 | Horizon Model H QR Flush Pendent Sprinkler
F_090701 | Quick Response | VK416 | Quick Response | Pendent | 4.2 | Mirage QR Concealed Pendent Sprinkler
F_062395 | Residential Sprinkler | VK420 | Fast Response | Pendent | 3.8 | Horizon Model H-3 Residential Pendent 3.8K Sprinkler
F_081288 | Residential Sprinkler | VK421 | Fast Response | Pendent | 5.5 | Horizon Model H Residential Pendent 5.5K Sprinkler
F_080399 | Residential Sprinkler | VK425 | Fast Response | Pendent | 4.1 | Mirage Model B-3 Residential Concealed Pendent 4.1K Sprinkler
F_032319 | Special Sprinklers | VK426 | Quick Response | Pendent | 5.6 | Institutional Sprinkler
F_032319 | Special Sprinklers | VK427 | Quick Response | Horizontal Sidewall | 5.6 | Institutional Sprinkler
F_082095 | Residential Sprinkler | VK430 | Fast Response | Pendent | 4.3 | Freedom Residential Model M-4 Pendent 4.3K Sprinkler
F_060697 | Residential Sprinkler | VK432 | Fast Response | Pendent | 5.5 | Microfast Model M-5 Residential Pendent 5.5K Sprinkler
F_082197 | Residential Sprinkler | VK434 | Fast Response | Pendent | 3.1 | Microfast Model M-6 Low Flow Residential Pendent 3.1K Sprinkler
F_031405 | Residential Sprinkler | VK435 | Fast Response | Pendent | 3.1 | Freedom Residential Pendent Sprinkler
F_081202 | Residential Sprinkler | VK436 | Fast Response | Pendent | 5.2 | Microfast Model M Residential Pendent 5.2K Sprinkler
F_052803 | Residential Sprinkler | VK438 | Fast Response | Pendent | 4.9 | Microfast Residential Concealed Pendent 4.9K Sprinkler
F_060197 | Residential Sprinkler | VK440 | Fast Response | Horizontal Sidewall | 4.3 | Microfast Model M-4 Residential HSW 4.3K Sprinkler
F_022697 | Extended Coverage | VK442 | Quick Response | Horizontal Sidewall | 5.5 | Microfast Model M-5 Quick Response Extended Coverage Horizontal Sidewall
F_082297 | Residential Sprinkler | VK444 | Fast Response | Horizontal Sidewall | 3.7 | Microfast Model M-7 Residential HSW 3.7K Sprinkler
F_080588 | Residential Sprinkler | VK446 | Fast Response | Horizontal Sidewall | 5.5 | Microfast Model M Residential HSW 5.5K Sprinkler
F_070202 | Residential Sprinkler | VK448 | Fast Response | Horizontal Sidewall | 4.3 | Microfast Residential HSW Sprinkler
F_061721 | Residential Sprinkler | VK449 | Fast Response | Horizontal Sidewall | 4 | Residential Dry Horizontal Sidewall
F_013103 | Residential Sprinkler | VK450 | Fast Response | Horizontal Sidewall | 4.2 | Freedom Residential HSW Sprinkler
F_121104 | Residential Sprinkler | VK452 | Fast Response | Horizontal Sidewall | 4 | Freedom Residential HSW Sprinkler
F_081905 | Residential Sprinkler | VK453 | Fast Response | Horizontal Sidewall | 4 | Freedom Residential HSW Sprinkler
F_012993 | Quick Response | VK454 | Standard Response | Pendent | 5.6 | Horizon Mirage Standard Response and QR Concealed Sprinkler, HP QR
F_103105 | Residential Sprinkler | VK456 | Fast Response | Pendent | 4.9 | Freedom Residential Concealed Pendent Sprinkler
F_100610 | Residential Sprinkler | VK4560 | Fast Response | Pendent | 4.9 | Freedom Residential Concealed Pendent Lead Free Sprinkler
F_072607 | Residential Sprinkler | VK457 | Fast Response | Pendent | 4.9 | Freedom Residential Concealed Pendent Sprinkler (K4.9)
F_100710 | Residential Sprinkler | VK4570 | Fast Response | Pendent | 4.9 | Freedom Residential Concealed Lead Free Fusible Element Pendent Sprinkler (k4.9)
F_042005 | Residential Sprinkler | VK458 | Fast Response | Pendent | 7.4 | Freedom Residential Pendent Sprinkler
F_110205 | Residential Sprinkler | VK460 | Fast Response | Horizontal Sidewall | 5.8 | Freedom Residential HSW Sprinkler
F_012511 | Residential Sprinkler | VK4600 | Fast Response | Horizontal Sidewall | 5.8 | Freedom Residential Horizontal Sidewall Lead Free Sprinkler (K5.8)
F_091506 | Quick Response | VK461 | Quick Response | Pendent | 2.8 | Mirage QR Concealed Pendent Sprinkler
F_103005 | Quick Response | VK462 | Quick Response | Pendent | 5.6 | Mirage QR Concealed Pendent Sprinkler
F_092121 | Quick Response | VK4621 | Quick Response | Pendent | 5.6 | Standard/Quick Response Concealed Pendent Sprinkler
F_103005 | Quick Response | VK463 | Quick Response | Pendent | 5.6 | Mirage QR Concealed Pendent Sprinkler
F_021606 | Quick Response | VK464 | Quick Response | Pendent | 8 | Mirage Quick Response Concealed Pendent Sprinkler
F_032107 | Quick Response | VK465 | Quick Response | Pendent | 4.2 | Mirage QR Concealed Pendent Sprinkler
F_091406 | Residential Sprinkler | VK466 | Fast Response | Pendent | 5.2 | Freedom Residential Pendent Sprinkler
F_091606 | Residential Sprinkler | VK466-D | Fast Response | Pendent | 5.2 | Freedom Residential Pendent Sprinkler
F_012611 | Residential Sprinkler | VK4660 | Fast Response | Pendent | 5.2 | Freedom Residential Pendent Lead Free Sprinkler (K5.2)
F_090413 | Residential Sprinkler | VK467 | Fast Response | Upright | 4.9 | Freedom Residential Upright Sprinkler (K4.9)
F_012706 | Residential Sprinkler | VK468 | Fast Response | Pendent | 4.9 | Freedom Residential Pendent Sprinkler
F_101010 | Residential Sprinkler | VK4680 | Fast Response | Pendent | 4.9 | Freedom Residential Pendent Lead Free Sprinkler (K4.9)
F_020206 | Residential Sprinkler | VK468-D | Fast Response | Pendent | 4.9 | Freedom Residential Concealed Pendent Sprinkler
F_120508 | Quick Response | VK469 | Quick Response | Pendent | 11.2 | Quick Response ELO Concealed Pendent Sprinkler
F_061011 | Residential Sprinkler | VK470 | Fast Response | Pendent | 3 | Freedom Residential Pendent Sprinkler (K3.0)
F_100611 | Residential Sprinkler | VK4700 | Fast Response | Pendent | 3 | Freedom Residential Pendent Lead Free Sprinkler (K3.0)
F_121409 | Residential Sprinkler | VK472 | Fast Response | Pendent | 5.8 | Residential Pendent 5.8K Sprinkler
F_012711 | Residential Sprinkler | VK4720 | Fast Response | Pendent | 5.8 | Freedom Residential Pendent Lead Free Sprinkler (K5.8)
F_012109 | Residential Sprinkler | VK474 | Fast Response | Pendent | 5.8 | Residential Concealed Pendent 5.8K Sprinkler
F_012811 | Residential Sprinkler | VK4740 | Fast Response | Pendent | 5.8 | Freedom Residential Concealed Pendent Sprinkler (K5.8)
F_120608 | Residential Sprinkler | VK476 | Fast Response | Pendent | 4.9 | Residential Flush Pendent 4.9K Sprinkler
F_042612 | Quick Response | VK478 | Quick Response | Pendent | 5.6 | Quick Response Flush Pendent Sprinkler
F_012915 | Residential Sprinkler | VK479 | Fast Response | Horizontal Sidewall | 3 | Freedom Residnetial Horizontal Sidewall
F_121609 | Residential Sprinkler | VK480 | Fast Response | Horizontal Sidewall | 4 | Freedom Residential Concealed HSW 4.0K Sprinkler
F_020312 | Standard Response | VK481 | Quick Response | Horizontal Sidewall | 5.6 | Standard Spray Concealed Horizontal Sidewall Sprinkler
F_081512 | Dry Sprinkler | VK482 | Quick Response | Pendent | 5.4 | Quick Response Recessed Flush Dry Sprinkler
F_050310 | Residential Sprinkler | VK484 | Fast Response | Horizontal Sidewall | 4.2 | Freedom Residential HSW 4.2K Sprinkler
F_100510 | Residential Sprinkler | VK4840 | Fast Response | Horizontal Sidewall | 4.2 | Freedom Residential HSW Lead Free 4.2K Sprinkler
F_011212 | Residential Sprinkler | VK4860 | Fast Response | Horizontal Sidewall | 4 | Freedom Residential Horizontal Sidewall lead Free Sprinkler (K4.0)
F_073012 | Residential Sprinkler | VK488 | Fast Response | Pendent | 3 | Freedom Residential Concealed Pendent Sprinkler (K3.0)
F_061214 | Residential Sprinkler | VK4880 | Fast Response | Pendent | 3 | Freedom Residential Concealed LEAD FREE Pendent Sprinkler (K3.0)
F_101615 | Standard Response | VK492 | Standard Response | Pendent | 5.6 | Mirage Standard Response Concealed Pendent Sprinkler (K5.6)
F_092221 | Standard Response | VK4921 | Standard Response | Pendent | 5.6 | Standard Response Pendent Sprinkler
F_012116 | Residential Sprinkler | VK494 | Fast Response | Pendent | 4.9 | Freedom Residential Concealed Pendent 4.9K Sprinkler LPCB
F_041623 | Residential Sprinkler | VK495 | Fast Response | Pendent | 3.7 | Freedom Residential Concealed Pendent Sprinkler K3.7
F_032218 | Residential Sprinkler | VK496 | Fast Response | Pendent | 3 | Freedom Residential Concealed Pendent Sprinkler 3.0K
F_060198 | Storage | VK500 | ESFR | Pendent | 14 | Model S-1 ESFR 14.0K Sprinkler
F_050707 | Storage | VK501 | ESFR | Pendent | 14 | ESFR Dry Pendent Sprinkler (K14.0)
F_042012 | Storage | VK502 | ESFR | Pendent | 14 | ESFR Dry Pendent Sprinkler (K14.0)
F_120106 | Storage | VK503 | ESFR | Pendent | 17 | ESFR Pendent 16.8K Sprinkler
F_062613 | Storage | VK504 | ESFR | Pendent | 16.8 | ESFR Dry Pendent Sprinkler (K16.8)
F_081612 | Storage | VK506 | ESFR | Pendent | 22.4 | ESFR Pendent Sprinkler (K22.4)
F_100102 | Storage | VK510 | ESFR | Pendent | 25.2 | ESFR Pendent 25.2K Sprinkler
F_071221 | Dry Sprinkler | VK512 | ESFR | Pendent | 25.2 | ESFR Dry Pendent Sprinkler K25.2
F_010715 | Storage | VK514 | ESFR | Pendent | 28 | Specific Application ESFR Pendent Sprinkler
F_080622 | Storage | VK5141 | ESFR | Pendent | 28 | Specific Application ESFR Pendent Sprinkler
F_060298 | Storage | VK520 | ESFR | Upright | 14 | Model A-4 ESFR Upright 14.0K Sprinkler
F_072014 | Quick Response | VK525 | Quick Response | Upright | 5.5 | Standard/Quick Response ECOH ELO Fusible Element Upright
F_010692 | Storage | VK530 | Standard Response | Upright | 11.5 | Standard Response ELO Sprinklers Model M ELO Sprinkler Pendent
F_053114 | Extended Coverage | VK532 | Quick Response | Pendent | 11.2 | EC/QREC Upright Light/Ordinary Hazard ELO Sprinkler
F_021807 | Storage | VK533 | Quick Response | Upright | 11.2 | QR ELO Upright Sprinkler (Special Application)
F_051393 | Extended Coverage | VK534 | Quick Response | Pendent | 11.2 | Model M Extended Coverage Ordinary Hazard Extra Large Orifice Sprinkler
F_021907 | Extended Coverage | VK535 | Standard Response | Upright | 11.2 | Standard/QR ECOH ELO Fusible Element Upright Sprinkler
F_010692 | Storage | VK536 | Standard Response | Pendent | 11.2 | Standard Response ELO Sprinklers Model M ELO Sprinkler Pendent
F_021907 | Extended Coverage | VK537 | Standard Response | Upright | 11.2 | Standard/QR ECOH ELO Fusible Element Upright Sprinkler
F_050511 | Extended Coverage | VK538 | Quick Response | Pendent | 11.2 | Mirage EC/QREC OH-ELO Concealed Pendent Sprinkler (K11.2)
F_090595 | Storage | VK540 | Standard Response | Upright | 11.2 | Model A-2 Standard Response High Challenge Upright Large Drop Sprinklers
F_040815 | Dry Sprinkler | VK544 | Standard Response | Pendent | 5.5 | Standard Response Dry Pendent ELO
F_040815 | Dry Sprinkler | VK545 | Standard Response | Pendent | 5.5 | Standard Response Dry Pendent ELO
F_040815 | Dry Sprinkler | VK546 | Standard Response | Pendent | 5.5 | Standard Response Dry Pendent ELO
F_040915 | Dry Sprinkler | VK547 | Quick Response | Pendent | 11.2 | Quick Response Dry Pendent ELO Sprinkler
F_040915 | Dry Sprinkler | VK548 | Quick Response | Pendent | 11.2 | Quick Response Dry Pendent ELO Sprinkler
F_040915 | Dry Sprinkler | VK549 | Quick Response | Pendent | 11.2 | Quick Response Dry Pendent ELO Sprinkler
F_012498 | Storage | VK550 | Standard Response | Upright | 5.6 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK551 | Standard Response | Upright | 5.6 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK552 | Standard Response | Upright | 5.6 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK556 | Quick Response | Upright | 5.6 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK558 | Quick Response | Upright | 5.6 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK560 | Standard Response | Upright | 8 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK562 | Standard Response | Upright | 8 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK566 | Quick Response | Upright | 8 | Model M Intermediate Level In-Rack Sprinklers
F_012498 | Storage | VK567 | Quick Response | Upright | 8 | Model M Intermediate Level In-Rack Sprinklers
F_010104 | Extended Coverage | VK570 | Quick Response | Upright | 14 | Extended Coverage Ordinary Hazard Upright and Pendent Sprinkler
F_072313 | Extended Coverage | VK572 | Quick Response | Pendent | 14 | EC/QREC Ordinary Hazard Pendent Sprinkler (K14.0)
F_041904 | Storage | VK580 | Standard Response | Upright | 16.8 | Standard Response Upright Sprinkler (K16.8) Storage-Density/Area
F_033108 | Storage | VK592 | Standard Response | Pendent | 19.6 | Standard Response Pendent Sprinkler (K19.6) CMSA
F_121610 | Storage | VK595 | Standard Response | Upright | 25.2 | EC Upright 25.2K Sprinkler (Storage-Density/Area)
F_090414 | Storage | VK598 | Standard Response | Upright | 5.5 | Standard Response Upright Sprinkler
F_080988 | Extended Coverage | VK600 | Quick Response | Pendent | 5.6 | Microfast Model M Extended Coverage Pendent Sprinkler
F_072114 | Quick Response | VK601 | Quick Response | Pendent | 5.6 | Quick Response Extended Coerage Fusible Element Pendent
F_102412 | Extended Coverage | VK602 | Quick Response | Pendent | 8 | Standard/Quick Response Extended Coverage Pendent Sprinkler (K8.0)
F_102512 | Extended Coverage | VK603 | Quick Response | Pendent | 8 | Quick Response/Extended Coverage Fusible Element Pendent Sprinkler
F_022098 | Extended Coverage | VK604 | Quick Response | Pendent | 5.6 | MicrofastHP Model M-5 EC Pendent Sprinkler
F_072414 | Quick Response | VK605 | Quick Response | Horizontal Sidewall | 5.6 | Standard/Quick Response Extended Coverage Horizontal Sidewall
F_080788 | Extended Coverage | VK606 | Standard Response | Horizontal Sidewall | 8 | Microfast Standard/Quick Response Extended Coverage HSW Sprinkler
F_020807 | Extended Coverage | VK607 | Quick Response | Pendent | 5.6 | Microfast/MicrofastHP EC/QREC Fusible Element Pendent Sprinkler
F_052793 | Extended Coverage | VK608 | Standard Response | Pendent | 11.2 | Standard/Quick Response Extended Coverage Light Hazard ELO
F_072314 | Extended Coverage | VK609 | Quick Response | Horizontal Sidewall | 5.6 | Microfast Extended Coverage Quick Response Fusible Element Horizontal Sidewall
F_022098 | Extended Coverage | VK610 | Quick Response | Pendent | 5.6 | MicrofastHP Model M-5 EC Pendent Sprinkler
F_020807 | Extended Coverage | VK611 | Quick Response | Pendent | 5.6 | Microfast/MicrofastHP EC/QREC Fusible Element Pendent Sprinkler
F_030203 | Extended Coverage | VK612 | Quick Response | Horizontal Sidewall | 5.6 | Microfast/MicrofastHP EC/QR HSW Sprinkler
F_020907 | Extended Coverage | VK613 | Quick Response | Horizontal Sidewall | 5.6 | Microfast/MicrofastHP EC/QREC Fusible Element HSW Sprinklers
F_061603 | Extended Coverage | VK614-D | Quick Response | Pendent | 5.6 | Standard Response/QR EC Concealed Pendent Sprinklers
F_061603 | Extended Coverage | VK616-D | Standard Response | Pendent | 8 | Standard Response/QR EC Concealed Pendent Sprinklers
F_021207 | Extended Coverage | VK617 | Standard Response | Pendent | 11.2 | Standard Response/QR EC Light Hazard ELO Fusible Element Pendent Sprinkler
F_061503 | Extended Coverage | VK618-D | Standard Response | Pendent | 11.2 | Standard/QR Light Hazard ELO Concealed Pendent Sprinkler
F_061593 | Extended Coverage | VK625 | Standard Response | Pendent | 5.6 | Horizon Mirage EC 20ft x 20ft Concealed Sprinkler
F_061594 | Extended Coverage | VK627 | Standard Response | Pendent | 8 | Horizon Mirage EC 20ft x 20ft Concealed Sprinkler
F_102905 | Extended Coverage | VK630 | Quick Response | Horizontal Sidewall | 8 | QR Extended Coverage HSW Sprinkler
F_102805 | Extended Coverage | VK630-D | Quick Response | Horizontal Sidewall | 8 | QR Extended Coverage Concealed HSW Sprinkler
F_121209 | Extended Coverage | VK631 | Quick Response | Horizontal Sidewall | 8 | QR EC HP Concealed HSW Sprinkler VK631
F_080107 | Extended Coverage | VK632 | Quick Response | Pendent | 5.6 | Mirage QREC Concealed Pendent Sprinklers
F_080107 | Extended Coverage | VK634 | Quick Response | Pendent | 8 | Mirage QREC Concealed Pendent Sprinklers
F_121009 | Extended Coverage | VK636 | Quick Response | Pendent | 11.2 | Mirage QR EC Light Hazard ELO Concealed Pendent Sprinkler
F_081911 | Extended Coverage | VK638 | Quick Response | Horizontal Sidewall | 8 | Quick Response Extended Coverage Horizontal Sidewall Sprinkler (K8.0)
F_032319 | Special Sprinklers | VK650 | Quick Response | Pendent | 5.6 | Institutional Sprinkler - Extended Coverage
F_032319 | Special Sprinklers | VK651 | Quick Response | Horizontal Sidewall | 5.6 | Institutional Sprinkler - Extended Coverage
F_092116 | Attic | VK660 |  | Hip | 5.6 | Model V-Hip Specific Application Attic Sprinkler
F_050611 | Extended Coverage | VK680 | Quick Response | Horizontal Sidewall | 8 | QR EC Concealed HSW Sprinkler (K8.0)
F_042915 | Special Sprinklers | VK681 |  | Back to Back | 8 | Model V-BB Specific Application Sprinkler
F_042915 | Special Sprinklers | VK682 |  | Back to Back | 8 | Model V-BB Specific Application Sprinkler
F_042915 | Special Sprinklers | VK683 |  | Back to Back | 8 | Model V-BB Specific Application Sprinkler
F_042915 | Special Sprinklers | VK684 |  | Back to Back | 5.6 | Model V-BB Specific Application Sprinkler
F_042915 | Special Sprinklers | VK685 |  | Back to Back | 5.6 | Model V-BB Specific Application Sprinkler
F_042915 | Special Sprinklers | VK686 |  | Back to Back | 5.6 | Model V-BB Specific Application Sprinkler
F_011719 | Attic | VK690 |  | Eave Protection | 5.6 | Model V-EP Specific Application Attic Sprinkler
F_043015 | Special Sprinklers | VK693 |  | Single Directional | 5.6 | Model V-SD Specific Application Sprinkler
F_043015 | Special Sprinklers | VK694 |  | Single Directional | 5.6 | Model V-SD Specific Application Sprinkler
F_043015 | Special Sprinklers | VK695 |  | Single Directional | 5.6 | Model V-SD Specific Application Sprinkler
F_042815 | Special Sprinklers | VK696 |  | Upright | 4.2 | Attic Upright Specific Application Sprinkler
F_042517 | Attic | VK697 |  | Back to Back | 5.6 | Attic Upright Specific Application Sprinkler
F_011594 | Spray Nozzles | VK700 |  | 60° | 5.6 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK701 |  | 90° | 5.6 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK702 |  | 120° | 5.6 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK703 |  | 150° | 5.6 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK705 |  | 60° | 4.2 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK706 |  | 90° | 4.2 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK707 |  | 120° | 4.2 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK708 |  | 150° | 4.2 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK710 |  | 60° | 2.8 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK711 |  | 90° | 2.8 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK712 |  | 120° | 2.8 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK713 |  | 150° | 2.8 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK715 |  | 60° | 1.9 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK716 |  | 90° | 1.9 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK717 |  | 120° | 1.9 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK718 |  | 150° | 1.9 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK720 |  | 60° | 1.4 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK721 |  | 90° | 1.4 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK722 |  | 120° | 1.4 | Model M Spray Nozzles
F_011594 | Spray Nozzles | VK723 |  | 150° | 1.4 | Model M Spray Nozzles
F_030789 | Spray Nozzles | VK740 |  | 30° | 1.2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK741 |  | 60° | 1.2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK742 |  | 90° | 1.2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK743 |  | 120° | 1.4 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK744 |  | 140° | 1.4 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK750 |  | 30° | 2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK751 |  | 60° | 2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK752 |  | 90° | 2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK753 |  | 120° | 2.2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK754 |  | 140° | 2.2 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK760 |  | 30° | 2.8 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK761 |  | 60° | 2.8 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK762 |  | 90° | 2.8 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK763 |  | 120° | 3.3 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK764 |  | 140° | 3.3 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK770 |  | 30° | 3.3 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK771 |  | 60° | 3.3 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK772 |  | 90° | 3.8 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK773 |  | 120° | 3.7 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK774 |  | 140° | 3.7 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK780 |  | 30° | 4.3 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK781 |  | 60° | 4.8 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK782 |  | 90° | 5 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK783 |  | 120° | 4.9 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_030789 | Spray Nozzles | VK784 |  | 140° | 4.9 | Model A-2, A-2X, B-2, C-2, and D-2 Spray Nozzles and Distribution Patterns
F_051800 | Spray Nozzles | VK790 |  | Pendent | 1.5 | Model C-1 Window Sprinkler
F_051800 | Spray Nozzles | VK791 |  | Pendent | 2.1 | Model C-1 Window Sprinkler
F_051800 | Spray Nozzles | VK792 |  | Pendent | 3 | Model C-1 Window Sprinkler
F_051800 | Spray Nozzles | VK793 |  | Pendent | 4.3 | Model C-1 Window Sprinkler
F_051800 | Spray Nozzles | VK794 |  | Pendent | 5.8 | Model C-1 Window Sprinkler
F_051800 | Spray Nozzles | VK795 |  | Pendent | 7.3 | Model C-1 Window Sprinkler
F_051800 | Spray Nozzles | VK796 |  | Pendent | 8.1 | Model C-1 Window Sprinkler
F_062104 | Spray Nozzles | VK810 |  | 65° |  | Model E Spray Nozzles
F_062104 | Spray Nozzles | VK811 |  | 80° |  | Model E Spray Nozzles
F_062104 | Spray Nozzles | VK812 |  | 95° |  | Model E Spray Nozzles
F_062104 | Spray Nozzles | VK813 |  | 110° |  | Model E Spray Nozzles
F_062104 | Spray Nozzles | VK814 |  | 125° |  | Model E Spray Nozzles
F_062104 | Spray Nozzles | VK815 |  | 140° |  | Model E Spray Nozzles
F_062104 | Spray Nozzles | VK816 |  | 160° |  | Model E Spray Nozzles
F_062104 | Spray Nozzles | VK817 |  | 180° |  | Model E Spray Nozzles
F_051606 | Spray Nozzles | VK824 |  | 125° | 0.82 | Model EM Low Pressure Mist Nozzle
F_051606 | Spray Nozzles | VK825 |  | 95° | 0.48 | Model EM Low Pressure Mist Nozzle
F_110503 | Special Sprinklers | VK900 |  | Upright | 4.2 | Microfast COIN QR Upright Sprinkler
F_021607 | Special Sprinklers | VK901 |  | Upright | 4.2 | Microfast COIN QR Upright Fusible Element Sprinkler
F_072508 | Special Sprinklers | VK920 |  | Pendent | 5.6 | Flat Spray Pendent Sprinklers
F_072508 | Special Sprinklers | VK922 |  | Pendent | 8 | Flat Spray Pendent Sprinklers
F_081216 | Special Sprinklers | VK950 |  | Upright | 5.6 | COIN QR Upright Sprinkler VK950
F_042519 | Special Sprinklers | VK960 |  | Pendent | 5.6 | Specific Application Window Sprinkler
F_042519 | Special Sprinklers | VK962 |  | Horizontal Sidewall | 5.6 | Specific Application Window Sprinkler